## Crosswalk Table
Bibliographic |  |  |  |  | Classification |  | Definitions & Frameworks |  | Sampling | Matrix-Specific | [6 empty] | Lab Processing |  | Analytical Methods |  |  |  | Reference Materials | QA/QC & Stats |  | Reporting & Data |  | Toxicology |  |  | QA/QC & Stats | Notes | Extended Metadata
# | Short Citation | Year | Full Title | Primary Focus | Document Type | Priority Tier | Definitions & Terminology | Problem Formulation / Framework | Sampling (Field Methods) | Matrix: Drinking Water | Matrix: Surface/Wastewater | Matrix: Sediment | Matrix: Biota/Tissue | Matrix: Air/Atmos. | Matrix: Food/Dietary | Matrix: Human Tissue/ Biomonitor | Sample Processing / Extraction | Sub-sampling | Analytical Methods (General) | FTIR / IR Spectroscopy | Raman Spectroscopy | Py-GC-MS | Reference Materials / +Controls | Blanks & Contamination Control | Data Analysis & Statistics | Reporting & Harmonization | Databases & Data Sharing | Toxicology: Study Design & Dosimetry | Toxicology: Effects Testing Methods | Interlaboratory/Validation | Risk Assessment / Risk Char. | Key Notes | Particle Size Range | Key Metrics / Output
27 | Erdle et al., 2026 | 2026 | Advancing Microfiber Research: A Call for Chemical Transparency and Coordination between Science and Industry | Framework | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | 4 | [18 empty] | 4 | [5 empty] | Microfiber-specific call for chemical characterization and reporting standards
59 | Provencher et al., 2020 | 2020 | Proceed with caution: The need to raise the publication bar for microplastics research | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 |  | 4 | [5 empty] | Editorial perspective on publication standards; reinforces minimum reporting requirements
6 | Rochman et al., 2019 | 2019 | Rethinking microplastics as a diverse contaminant suite | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | 4 | [23 empty] | Conceptual framing: MPs as diverse suite; influences problem formulation philosophy
9 | Hartmann et al., 2019 | 2019 | Are We Speaking the Same Language? Recommendations for a Definition and Categorization Framework for Plastic Debris | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | 4 | [23 empty] | Consensus definitions for microplastics; primary terminology reference
26 | Devriese et al., 2025 | 2025 | Setting the course: aligning European Union marine pollution policy ambitions with environmental realities | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [23 empty] | EU policy alignment with monitoring realities; regulatory context for marine monitoring
33 | Hüffer et al., 2017 | 2017 | Microplastic Exposure Assessment in Aquatic Environments: Learning from Similarities and Differences to Engineered Nanoparticles | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [22 empty] | 4 | Bridges nanomaterial and MP exposure assessment frameworks
36 | Koelmans, 2019b | 2019 | Proxies for nanoplastic | Framework | Reference Material | ★☆☆☆ Tier 4 Supporting Science | 4 | [15 empty] | 4 | [8 empty] | Discusses proxy materials for nanoplastics; informs reference material selection
39 | Kooi et al., 2021 | 2021 | Characterizing the multidimensionality of microplastics across environmental compartments | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | 4 | [23 empty] | Multidimensional characterization framework; links particle properties to fate and effects
44 | Lusher et al., 2021 | 2021 | Moving forward in microplastic research: A Norwegian perspective | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [17 empty] | 4 | [5 empty] | National-level strategic framework; covers monitoring and tox research priorities
45 | Lusher & Primpke, 2023 | 2023 | Finding the Balance between Research and Monitoring: When Are Methods Good Enough to Understand Plastic Pollution? | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | 4 | [9 empty] | 4 | [12 empty] | Philosophical guidance on when methods are fit for purpose; research vs. monitoring
53 | Petersen et al., 2022a | 2022 | Solving Familiar Problems: Leveraging Environmental Testing Methods for Nanomaterials to Evaluate Microplastics and Nanoplastics | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [10 empty] | 4 | [12 empty] | Bridges ENM test methods to MP/NP evaluation; method transferability
75 | Wagner et al., 2014 | 2014 | Microplastics in freshwater ecosystems: what we know and what we need to know | Framework | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [23 empty] | Early foundational review of freshwater MPs; historical baseline for field development
76 | Waldschläger et al., 2022 | 2022 | Learning from natural sediments to tackle microplastics challenges: A multidisciplinary perspective | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | 4 |  |  |  | 4 | [19 empty] | Sediment science applied to MPs; draws on natural particle analogs for method context | Various (sediment transport theory applied to MPs; size-dependent settling velocity) | Settling velocity; density-based fractionation; methodological context for MP behavior in sediment
78 | Wright et al., 2024 | 2024 | Micro- and nanoplastics concepts for particle and fibre toxicologists | Framework | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | [20 empty] | 4 |  |  |  | Conceptual bridging document for toxicologists new to MP/NP research
80 | Xu et al., 2025 | 2025 | Are microplastics bad for your health? More rigorous science is needed | Framework | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [15 empty] | 4 | [6 empty] | 4 | Critical commentary on evidence quality; calls for rigorous methods in human health research
2 | Cowger et al., 2020a | 2020 | Critical Review of Processing and Classification Techniques for Images and Spectra in Microplastic Research | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | 4 | 4 | [10 empty] | Reviews image analysis (OM, SEM, fluorescence) & spectral analysis (FT-IR, Raman, Py-GC-MS, EDS)
18 | Cowger et al., 2025 | 2025 | Open Specy 1.0: Automated (Hyper)spectroscopy for Microplastics | Monitoring | Database/Software | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | 4 | 4 | [5 empty] | 4 |  |  |  |  | Primary automated spectral analysis tool; open-source spectral library and matching
19 | Cowger et al., 2024a | 2024 | How many microplastics do you need to (sub)sample? | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [11 empty] | 4 | [6 empty] | 4 | [6 empty] | Statistical framework for sub-sampling; answers key practical question for all matrices
20 | Cowger et al., 2024b | 2024 | Generation of macro- and microplastic databases by high-throughput FTIR analysis with microplate readers | Monitoring | Database/Software | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | 4 | [6 empty] | 4 |  |  |  |  | High-throughput FTIR via microplate readers; enables large-scale spectral database generation
21 | Cowger et al., 2021 | 2021 | Microplastic Spectral Classification Needs an Open Source Community: Open Specy to the Rescue! | Monitoring | Database/Software | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | 4 | 4 | [10 empty] | Open Specy community spectral library; foundational open-source spectral matching resource
22 | Dawson et al., 2023 | 2023 | Taking control of microplastics data: A comparison of control and blank data correction methods | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 | 4 | [6 empty] | Compares blank correction approaches; critical for data quality in contamination-prone work
42 | Lao, 2025 | 2025 | Postprocessing methods based on minimum detectable amount and method blank for data reporting of particle count and refining estimation of matrix spike recovery | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 | 4 | [6 empty] | Advanced data correction: MDA + blank correction for particle count reporting
48 | Mossotti et al., 2021 | 2021 | Preparation and analysis of standards containing microfilaments/microplastic with fibre shape | Monitoring | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 | [8 empty] | Protocol for microfiber reference standard preparation; fiber-specific reference materials
49 | Munno et al., 2023 | 2023 | Patterns of microparticles in blank samples: A study to inform best practices for microplastic analysis | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 | [7 empty] | Characterizes contamination patterns in blanks; informs procedural blank design
50 | Noonan et al., 2023 | 2023 | Microplastics analytics: why we should not underestimate the importance of blank controls | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 | [7 empty] | Reinforces critical importance of blank controls; demonstrates underestimation risk
51 | Pegoraro et al., 2025 | 2025 | Nanoplastic reference materials for biological and methodological assessment | Monitoring | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 | [8 empty] | Nanoplastic-specific reference materials; includes characterization metrics
61 | Rauert et al., 2022 | 2022 | Extraction and Pyrolysis-GC-MS analysis of polyethylene in samples with medium to high lipid content | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [10 empty] | 4 |  | 4 |  |  | 4 | [9 empty] | Py-GC-MS extraction for lipid-rich matrices; relevant to food and biota samples
70 | Tsering et al., 2022 | 2022 | The assessment of particle selection and blank correction to enhance the analysis of microplastics with Raman microspectroscopy | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 |  | 4 |  |  | 4 | [7 empty] | Particle selection + blank correction methods for Raman; improves data quality
71 | Valsesia et al., 2021 | 2021 | Combining microcavity size selection with Raman microscopy for the characterization of Nanoplastics in complex matrices | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 |  | 4 | [10 empty] | Nanoplastic detection via microcavity + Raman; addresses sub-1 μm particle analysis
74 | Wagner et al., 2022 | 2022 | Analytical precision assessment for microplastic analyses | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | 4 |  |  |  | 4 | 4 | [6 empty] | Precision metrics for MP analysis; establishes QA benchmarks for analytical workflows
3 | Cowger et al., 2020b | 2020 | Reporting guidelines to increase the reproducibility and comparability of research on microplastics | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [17 empty] | 3 |  | 3 | [5 empty] | Foundational reporting guidelines; best available reporting standard in absence of regulatory mandate
11 | Bakir et al., 2024 | 2024 | Creation of an international laboratory network towards global microplastics monitoring harmonisation | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [17 empty] | 3 |  | 3 |  |  |  | 4 |  | International lab network for harmonized monitoring; interlaboratory framework
4 | Koelmans et al., 2019a | 2019 | Microplastics in freshwaters and drinking water: Critical review and assessment of data quality | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [16 empty] | 4 | [6 empty] | Data quality assessment; introduces minimum quality criteria concept for monitoring data
15 | Ciornii et al., 2025 | 2025 | Interlaboratory Comparison Reveals State of the Art in Microplastic Detection and Quantification Methods | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [12 empty] | 3 |  |  |  |  | 3 | 3 |  |  |  |  | 3 |  | Most recent interlab comparison; benchmarks current analytical capabilities
7 | Athey & Erdle, 2021 | 2021 | Are We Underestimating Anthropogenic Microfiber Pollution? A Critical Review of Occurrence, Methods, and Reporting | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | 4 |  | 4 | [9 empty] | 4 | [12 empty] | Critical review of microfiber-specific sampling and reporting gaps
34 | Isobe et al., 2019 | 2019 | An interlaboratory comparison exercise for the determination of microplastics in standard sample bottles | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [12 empty] | 3 |  |  |  |  | 3 | [5 empty] | 3 |  | Early global interlaboratory study; highlights need for standardized protocols
12 | Bauten et al., 2023 | 2023 | Plastibodies for multiplexed detection and sorting of microplastic particles in high-throughput | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [12 empty] | 4 | [12 empty] | Novel antibody-based detection; emerging high-throughput analytical approach
57 | Primpke et al., 2020 | 2020 | Critical Assessment of Analytical Methods for the Harmonized and Cost Efficient Analysis of Microplastics | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [12 empty] | 3 | 3 | 3 | 3 |  |  |  | 3 | [5 empty] | Comprehensive analytical method assessment; cost-efficiency vs. performance guide
72 | van Mourik et al., 2021 | 2021 | Results of WEPAL-QUASIMEME/NORMANs first global interlaboratory study on microplastics reveal urgent need for harmonization | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [12 empty] | 3 |  |  |  |  | 3 |  | 3 |  |  |  | 3 |  | First global interlaboratory study; reveals wide variability and harmonization gaps
84 | Sherrod et al., 2024 | 2024 | One4All: An Open Source Portal to Validate and Share Microplastics Data and Beyond | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP | [19 empty] | 1 | 1 |  |  |  |  | PRIMARY data deposition portal for monitoring data; open-source validation + sharing. Required by California State Water Board for drinking water reporting.
1 | Dalmau-Soler et al., 2025 | 2025 | Implementation plan to monitor microplastics in surface and drinking water using Py-GC-MS according to Decision (EU) 2024/1441 | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 | 3 | 3 | 4 | [5 empty] | 3 |  | 4 |  |  | 3 |  |  | 3 | [6 empty] | Implements EU Decision 2024/1441 Py-GC-MS method; glass-fiber filter + Py-GC-MS applied to Llobregat river basin → Barcelona DW; 92–99% removal in DWTP. Environ. Pollut. v373, p126174. Zotero: 56WC834M | Any (bulk pyrolysis; no particle size threshold — reports total polymer mass) | Mass/L by polymer type (µg/L); 92–99% removal in drinking water treatment demonstrated
24 | de Jourdan et al., 2024 | 2024 | Microplastic biomonitoring studies in aquatic species: A review & quality assessment framework | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  | 4 |  |  |  |  | 4 | [10 empty] | 4 | [7 empty] | QA framework specific to biota biomonitoring; includes quality scoring rubric | Not specified (QA framework for biota biomonitoring; method-agnostic) | Quality score rubric (0–100 scale); 18 criteria for biota biomonitoring study quality
14 | Brander et al., 2020 | 2020 | Sampling and quality assurance and quality control: a guide for scientists investigating the occurrence of microplastics across matrices | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  | 3 | [14 empty] | 3 | [7 empty] | PRIMARY sampling guide for all matrices; best available when no Tier 1 SOP exists
23 | De Frond et al., 2022 | 2022 | Monitoring microplastics in drinking water: An interlaboratory study to inform effective methods for quantifying and characterizing microplastics | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  |  | 3 | [8 empty] | 3 |  |  |  |  | 3 | [5 empty] | 3 |  | Drinking water interlaboratory study; scientific basis informing CA DW SOPs | 1–20, 20–212, 212–500, >500 µm (four fractions spiked; 22-lab ILC) | Recovery 76±10% SE (≥20 µm: 92±12%); FTIR accuracy 95%, Raman 91%; blank 91±141 particles
41 | Langknecht et al., 2023 | 2023 | Comparison of two procedures for microplastics analysis in sediments based on an interlaboratory exercise | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [5 empty] | 3 |  |  |  |  | 3 |  | 3 | [10 empty] | 3 |  | Sediment-specific method comparison; best available interlaboratory basis for sediment | Spiked MPs (µm range, not precisely constrained); marine/estuarine sediment matrix | Extraction recovery: core 47%, augmented 78%; FTIR ID accuracy 99.8%; Raman 96.7%; 2-lab ILC
46 | Mayer et al., 2024 | 2024 | Where the rubber meets the road: Emerging environmental impacts of tire wear particles and their chemical cocktails | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  |  | 4 |  | 4 | [20 empty] | Tire wear particles — specific sampling and monitoring considerations | >10 µm (tire wear particles focus; estimated practical lower limit) | Tire wear particle count and polymer ID; morphology-specific criteria
58 | Provencher et al., 2019 | 2019 | Recommended best practices for plastic and litter ingestion studies in marine birds | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  | 4 |  |  |  | 3 |  |  |  | 3 | [8 empty] | 3 | [5 empty] | Marine bird biota ingestion protocol; covers full workflow for this matrix | ≥0.3 mm (storm-petrels); ≥1 mm (most species); ≥5 mm (mesoplastics); sieve stack 0.3/1/5 mm | Frequency of occurrence; count and mass/individual; GIT compartment-specific; size class and shape
56 | Ponti et al., 2025 | 2025 | Representative Test Material for Validation of Density Separation as Part of Microplastic Quantification in Drinking Water | Monitoring | Reference Material | ★☆☆☆ Tier 4 Supporting Science |  |  |  | 4 | [6 empty] | 4 | [5 empty] | 4 | [8 empty] | JRC reference material for density separation validation; supports SWB-MP1 implementation | >20 µm (density separation validation in DW matrix) | Extraction efficiency (spike-recovery); EURM-060 reference material validation
62 | Schymanski et al., 2021 | 2021 | Analysis of microplastics in drinking water and other clean water samples with micro-Raman and micro-infrared spectroscopy: minimum requirements and best practice guidelines | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  |  | 3 | 3 | [7 empty] | 3 | 3 | 3 | [10 empty] | Minimum requirements + best practices for micro-Raman/FTIR in clean water; widely used reference | ≥1 µm (Raman); ≥10–20 µm (FTIR practical limit) for clean/surface water | Count/volume by polymer/size; spectral HQI >70%; library ≥10 polymer types, ≥7 size bins
68 | Thornton Hampton et al., 2023 | 2023 | The influence of complex matrices on method performance in extracting and monitoring for microplastics | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  |  | 3 | 3 | [5 empty] | 3 |  | 3 | [12 empty] | Matrix effects on extraction/monitoring methods; informs method selection for DW and clean waters | Multiple size fractions tested across DW and SW matrices | Extraction efficiency by matrix; method comparison; background particle levels
60 | Rauert et al., 2025 | 2025 | Assessing the Efficacy of Pyrolysis–Gas Chromatography–Mass Spectrometry for Nanoplastic and Microplastic Analysis in Human Blood | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [9 empty] | 4 |  |  | 4 |  |  | 4 | [9 empty] | Py-GC-MS validation for human blood; best available biomonitoring method for this matrix | Any (bulk Py-GC-MS; no particle size threshold — reports total polymer mass in blood) | Mass concentration (µg/mL) by polymer type in human blood; full method validation provided
69 | Tsangaris et al., 2021 | 2021 | Interlaboratory comparison of microplastic extraction methods from marine biota tissues: A harmonization exercise | Monitoring | Interlaboratory Study | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [6 empty] | 3 |  |  |  | 3 | [12 empty] | 3 |  | Marine biota tissue extraction interlaboratory exercise; Plastic Busters MPAs project | PE/PP/PET spike particles (µm range); fish GIT and mussel tissue matrices | KOH digestion recovery 96.7%; H₂O₂ recovery 88.8%; interlaboratory CV <11%; 3 polymers; 4 labs
64 | Sutton et al., 2019 | 2019 | Understanding microplastic levels, pathways, and transport in the San Francisco Bay region | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  |  | 4 |  | 4 | [20 empty] | SF Bay multi-matrix monitoring case study; practical sampling framework example | >0.3 mm (manta trawl); <0.3 mm (pump sampling) | Count and polymer type in water column; multi-matrix comparison across SF Bay
82 | SWRCB/DDW, 2025 | 2025 | Laboratory Methods for Collection of Drinking Water Samples for Subsequent Analysis Using Raman or uFTIR Spectroscopy | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP |  |  | 1 | 1 | [8 empty] | 1 | 1 | 1 | [9 empty] | 1 | TIER 1: California State Water Board SOP for DW sample collection; regulatory-grade accredited method | ≥5 µm (FTIR / SWB-MP1); ≥1 µm (Raman / SWB-MP2) | Particle count/L by polymer type, size bin, morphology; blank-corrected
85 | Wong & Coffin, 2022 | 2022 | SWB-MP1-rev1. Standard Operating Procedures for Extraction and Measurement by Infrared Spectroscopy of Microplastic Particles in Drinking Water | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP |  |  |  | 1 | [6 empty] | 1 |  | 1 | 1 | [10 empty] | 1 | TIER 1: California State Water Board SOP for DW extraction + IR measurement; regulatory-grade accredited method | ≥5 µm (µFTIR; California DW extraction SOP) | Count/L by polymer/size/morphology; blank-corrected; LOD = mean(blanks) + 3 SD
88 | JRC, 2025 (EURM-060) | 2025 | Polyethylene terephthalate (PET) microplastic particles in water: EURM-060 | Monitoring | Reference Material | ★★★☆ Tier 2 Authoritative Guidance |  |  |  | 2 | [6 empty] | 2 | [5 empty] | 2 | [8 empty] | Certified reference material EURM-060: PET microplastic particles in water. For method validation and interlaboratory comparability. European Commission JRC, Seghers et al. | ~10 µm PET particles in water matrix (certified reference material EURM-060) | Certified count-based reference material for extraction/spectroscopy method validation
73 | Vanavermaete et al., 2024 | 2024 | Plastics in biota: technological readiness level of current methodologies | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | [6 empty] | 4 | [5 empty] | 4 | [12 empty] | TRL assessment for biota methods; practical guide to method maturity levels | Not specified (TRL assessment; technology readiness evaluation, not primary methods paper) | Technology readiness levels (TRL 1–9) for biota monitoring methods
89 | ISO 16094-2:2025 | 2025 | ISO 16094-2:2025 Water quality — Analysis of microplastic in water — Part 2: Vibrational spectroscopy methods for waters with low content of suspended solids including drinking water | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP |  |  | 1 | 1 | [6 empty] | 1 |  |  | 1 | 1 |  | 1 | 1 | [7 empty] | ISO standard. Vibrational spectroscopy (µFTIR, µRaman) for microplastic analysis in drinking water and low-turbidity waters. Specifies minimum requirements for spectral libraries, resolution, blank controls. | ≥20 µm (µFTIR); ≥1 µm (µRaman) for DW and low-turbidity waters | Count/L, polymer type (10 priority polymers), size distribution, spectral match quality (HQI)
79 | Wright et al., 2021 | 2021 | Development of screening criteria for microplastic particles in air and atmospheric deposition: critical review and applicability towards assessing human exposure | Monitoring | Workflow Component | ★☆☆☆ Tier 4 Supporting Science |  |  | 4 |  |  |  |  | 4 |  |  |  |  | 4 | [12 empty] | Air/atmospheric deposition screening criteria; best available for this matrix | >10 µm (majority of 27 reviewed studies); recommends prioritizing <10 µm for human health | Count/m³ or deposition rate (particles/m²/day); 11-criterion QA/QC score; mean 48.6% across studies
99 | Lenz et al., 2024 | 2024 | What Goes Around Should Not Move Around: Immobilizing Microplastics as a New Approach for Analytical Ring Trials | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [13 empty] | 3 | 3 |  | 3 | 3 | [5 empty] | 3 |  | Filtration-immobilization of MPs enables serial ILC designs; 77% lower measurement uncertainty vs parallel ILC. EST, vol. 58, pp. 22224–22234. Zotero: TRB5U5TE
100 | Ashta et al., 2026 | 2026 | Atmospheric deposition of microplastics: a sampling and analytical method including the associated measurement uncertainties | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [7 empty] | 3 |  |  | 3 |  |  | 3 |  |  |  | 3 | 3 | [6 empty] | FPA-µ-FTIR; novel on-site wet deposition filtration device; ~90% recovery via spike-recovery. AMT, vol. 19, pp. 371–388. DOI: 10.5194/amt-19-371-2026. Zotero: QXH62ZSF | ≥10 µm (FPA-µFTIR; wet deposition filter samples) | Count and polymer type; ~90% spike-recovery; deposition flux (particles/m²/event or /day)
102 | European Commission, 2024 | 2024 | Commission Delegated Decision (EU) 2024/1441 of 11 March 2024: methodology to measure microplastics in water intended for human consumption | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP |  |  |  | 1 | [6 empty] | 1 |  |  | 1 | 1 | [10 empty] | EU-wide regulatory methodology for drinking water MPs. ≥1000 L sampling; 20–5000 µm size range; IR/Raman micro-spectroscopy. EUR-Lex. Zotero: PSTRUFWX | 20–5000 µm (particles, area-equivalent diam.); 20–15000 µm (fibres, length); 5 size bins | Count/m³ by polymer type; ≥1000 L sample; 10 procedural blanks; spike recovery 100±40%
103 | SCCWRP, 2025 | 2025 | Standard Operating Procedures for the Collection of Samples for Microplastics Analysis Part 1: Surface Sediment and Aquatic Biota (Technical Report 1410.A) | Monitoring | Regulatory/Accredited SOP | ★★★★ Tier 1 Regulatory/ Accredited SOP |  |  | 1 |  |  | 1 | 1 |  |  |  | 1 | 1 | [5 empty] | 1 | [7 empty] | California OPC/SCCWRP SOPs extending Tier 1 coverage to sediment (grab sampling) and biota (bivalves, fish tissue dissection). Companion to SWB-MP1/2 (DW SOPs). Zotero: BP397VWH | ≥1 µm (operationally defined by filter pore size after density separation/digestion) | Count/kg dw (sediment); count/g ww (biota tissue); MDA blank-correction (Lao 2025); Tier 1 CA field SOP
104 | Vural et al., 2025 | 2025 | Protocol for extraction and analysis of microplastics in freshwater, sediment, and fish samples | Monitoring | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  |  |  |  | 3 | 3 | 3 |  |  |  | 3 | 3 |  |  | 3 |  | 3 | 3 | [7 empty] | Harmonized multi-matrix protocol: manta nets (SW), benthic grabs (sediment), fish dissection; H2O2/NaClO-KOH digestion; µ-Raman ID. STAR Protocols 2025. Zotero: 3EMHDUUP (Vural, Tuncay et al.). | ≥330 µm (manta net, surface water); ≥1.2 µm (GF/C filter, sediment & fish GIT) | Count/m³ (water), /g dw (sediment), /fish; 12-polymer library; µRaman 785 nm; recovery ≥80%
101 | Ren et al., 2026 | 2026 | Microplastics sampling methods and standardization requirements in atmospheric environment—a critical review | Monitoring | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science |  |  | 4 |  |  |  |  | 4 |  |  | 4 | [8 empty] | 4 | [5 empty] | Critical review of passive vs active air sampling; calls for standardization of full workflow from sampling to reporting. Air Quality, Atmosphere & Health. DOI: 10.1007/s11869-026-01886-w. Zotero: RXPEWSMR | Various (review of passive and active air sampling studies; no single size standard) | Review of count, flux, mass metrics across atmospheric MP studies; standardization gaps identified
83 | Hagelskjær et al., 2025 | 2025 | EasyMP: Diverse and Environmentally Relevant Microplastic Reference Materials Encompassing Fragments and Fibers | Reference Materials | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 | [8 empty] | Commercial environmentally relevant reference materials; fragments + fibers; best available commercial option
86 | Seghers et al., 2021 | 2021 | Preparation of a reference material for microplastics in water—evaluation of homogeneity | Reference Materials | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 | [8 empty] | JRC reference material preparation for water; evaluates homogeneity for in-house standard production
28 | Gouin et al., 2019 | 2019 | Toward the Development and Application of an Environmental Risk Assessment Framework for Microplastic | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [22 empty] | 4 | Early ERA framework for MPs; basis for subsequent risk-based regulatory approaches
29 | Gouin et al., 2022a | 2022 | Dietary and inhalation exposure to nano-and microplastic particles and potential implications for human health | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [5 empty] | 4 | 4 | [15 empty] | 4 | Dietary + inhalation exposure framework for human health; covers food and air matrices | 0.001–5000 µm (NMP size range; dietary + inhalation multi-route framework) | Daily intake (particles/day, µg/day) by exposure route; hazard quotient for human health RA
37 | Koelmans et al., 2020 | 2020 | Solving the Nonalignment of Methods and Approaches Used in Microplastic Research to Consistently Characterize Risk | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [17 empty] | 4 |  |  |  |  | 4 | Proposes aligned framework for risk characterization across monitoring and tox research
38 | Kooi & Koelmans, 2019 | 2019 | Simplifying Microplastic via Continuous Probability Distributions for Size, Shape, and Density | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | [17 empty] | 4 | [6 empty] | Statistical framework for MP property distributions; underpins size-shape-density reporting
87 | Koelmans et al., 2025a | 2025 | Towards Regulatory Readiness: Evaluating Frameworks for Microplastic Health Risk Assessment | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science | 4 | 4 | [16 empty] | 4 | 4 |  | 4 | 4 |  | 4 | Preprint. TRL framework for 5 MP health RA frameworks: SCCWRP (TRL7), MICROPLASTICLAB (TRL6), POLYRISK/MOMENTUM (TRL5), AURORA (TRL3-4), PLASTICHEAL (TRL3). 9 evaluation criteria (Table 1); regulatory readiness ratings (Table 3). Koelmans, Bouwmeester, Christopher, Coffin et al.
92 | Foss Hansen et al., 2024 | 2024 | PlasticRiskCat: Plasticheal risk evaluation and categorization framework | Risk Assessment | Framework/Policy | ★☆☆☆ Tier 4 Supporting Science |  | 4 | [19 empty] | 4 | 4 |  | 4 | PlasticRiskCat risk categorization framework from PLASTICHEAL EU project. Conference abstract / poster. DOI: 10.1016/j.toxlet.2024.07.176
77 | WHO, 2019 | 2019 | Microplastics in drinking-water | Risk Assessment | Authoritative Guidance | ★★★☆ Tier 2 Authoritative Guidance |  | 2 |  | 2 | [21 empty] | WHO risk assessment of MPs in drinking water; global policy reference document | Not specified (risk assessment framework; no primary analytical SOP) | Qualitative risk characterization; exposure and hazard assessment framework
81 | SAM, 2016 | 2016 | A scientific perspective on microplastics in nature and society – Scientific Advice Mechanism | Risk Assessment | Authoritative Guidance | ★★★☆ Tier 2 Authoritative Guidance |  | 2 | [23 empty] | EU Scientific Advice Mechanism report; policy-facing scientific perspective
91 | Vogel et al., 2024 | 2024 | Towards a risk assessment framework for micro- and nanoplastic particles for human health | Risk Assessment | Framework/Policy | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 3 | 3 | [16 empty] | 3 | 3 |  | 3 | 3 |  | 3 | Proposes comprehensive RA framework for MNP human health; addresses dosimetry, particle characterization, hazard assessment, exposure. DOI: 10.1186/s12989-024-00602-9
93 | Koelmans et al., 2023 | 2023 | Towards a rational and efficient risk assessment for microplastics | Risk Assessment | Framework/Policy | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 4 | 4 | [16 empty] | 4 | 4 |  | 3 |  |  | 3 | Proposes tiered, efficient MP RA based on stochastic risk quotients; addresses exposure, hazard, risk characterization. DOI: 10.1016/j.trac.2023.117142
16 | Coffin et al., 2022 | 2022 | Development and application of a health-based framework for informing regulatory action in relation to exposure of microplastic particles in California drinking water | Risk Assessment | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 |  | 3 | [5 empty] | 3 | [7 empty] | 4 |  |  |  | 3 | 3 |  | 3 | Directly informed California DW regulation; integrates monitoring + health risk assessment | ≥5 µm (DW monitoring context; CA SOP-based) | Risk characterization; integrated monitoring + RA framework; used in CA DW regulation
47 | Mehinto et al., 2022 | 2022 | Risk-based management framework for microplastics in aquatic ecosystems | Risk Assessment | Peer-Reviewed Method | ★★★☆ Tier 2 Authoritative Guidance |  | 2 |  |  | 2 | [16 empty] | 2 | 2 |  | 2 | Aquatic ecosystem risk management framework; links monitoring data to action levels. Used by California State Water Resources Control Board to assess Clean Water Act compliance of San Francisco Bay (305b). | Not specified (risk framework based on environmental monitoring data) | Action levels for aquatic MPs; risk quotient framework; monitoring data integration
66 | Thomas et al., 2026 | 2026 | Communicating Confidence in the Reliability of Micro- and Nanoplastic Identification in Human Health Studies | Toxicology | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 |  | 4 | [5 empty] | Tiered confidence communication for MNP identification; targeted at human health studies
8 | De Ruijter et al., 2025a | 2025 | Microplastics versus natural mineral particles: How to create and test them while maintaining environmental relevance | Toxicology | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 |  |  |  |  | 4 | 4 |  | 4 | Guidance on environmentally relevant particle preparation for tox studies
10 | Thornton Hampton et al., 2022a | 2022 | A living tool for the continued exploration of microplastic toxicity | Toxicology | Database/Software | ★☆☆☆ Tier 4 Supporting Science | [20 empty] | 4 | 4 | 4 |  | 4 | Describes ToMEx 1.0; quality scoring framework for tox data
13 | Bouftas & van Duursen, 2025 | 2025 | Enhanced H295R steroidogenesis assay and its predictive value for female reproductive toxicity | Toxicology | Tox-Specific Method | ★☆☆☆ Tier 4 Supporting Science | [22 empty] | 4 |  |  | In vitro endocrine disruption assay; relevant to MP tox effects testing
17 | Cohen et al., 2014 | 2014 | An integrated approach for the in vitro dosimetry of engineered nanomaterials | Toxicology | Tox-Specific Method | ★☆☆☆ Tier 4 Supporting Science | [21 empty] | 4 |  |  |  | In vitro dosimetry framework for nanoparticles; applicable to nanoplastics dosimetry
25 | De Ruijter et al., 2023 | 2023 | Microplastic Effect Tests Should Use a Standard Heterogeneous Mixture: Multifarious Impacts among 16 Benthic Invertebrate Species | Toxicology | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 |  |  |  |  | 4 | 4 |  |  | Advocates for heterogeneous reference mixtures in tox tests; benchmarks 16 species
30 | Gouin et al., 2024 | 2024 | Addressing the relevance of polystyrene nano- and microplastic particles used to support exposure, toxicity and risk assessment | Toxicology | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 |  |  |  |  | 4 |  |  |  | Critique of PS sphere use; recommends more relevant particle types for tox/exposure studies
32 | Thornton Hampton et al., 2025 | 2025 | The Toxicity of Microplastics Explorer (ToMEx) 2.0 | Toxicology | Database/Software | ★☆☆☆ Tier 4 Supporting Science | [20 empty] | 4 | 4 | 4 |  | 4 | PRIMARY tox database; deposit toxicity data here; includes quality scoring
35 | Kennedy et al., 2025 | 2025 | Trends in Quality and Risk Assessment Applicability of Microplastic Ecotoxicity Studies | Toxicology | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 |  |  |  | 4 | 4 |  | 4 | Systematic review of ecotox quality trends; benchmarks field progress
40 | Kovacs et al., 2025 | 2025 | Microplastics, Endocrine Disruptors, and Oxidative Stress: Mechanisms and Health Implications | Toxicology | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | [22 empty] | 4 |  |  | Review of mechanistic tox pathways; context for effects testing design
43 | Leso et al., 2023 | 2023 | The endocrine disrupting effects of nanoplastic exposure: A systematic review | Toxicology | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | [22 empty] | 4 |  |  | Systematic review of nanoplastic endocrine disruption; tox evidence synthesis
52 | Petersen et al., 2020 | 2020 | Cause-and-Effect Analysis as a Tool To Improve the Reproducibility of Nanobioassays: Four Case Studies | Toxicology | Tox-Specific Method | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 |  |  |  | 4 |  |  |  | Reproducibility tool for nanobioassays; applicable to MP tox method development
54 | Petersen et al., 2022b | 2022 | Potential Artifacts and Control Experiments in Toxicity Tests of Nanoplastic and Microplastic Particles | Toxicology | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | [17 empty] | 4 |  |  |  | 4 |  |  |  | Identifies artifact sources in MP/NP tox tests; critical for experimental design
55 | Pimentel et al., 1975 | 1975 | Respiratory disease caused by synthetic fibres: a new occupational disease | Toxicology | Review/Scoping | ★☆☆☆ Tier 4 Supporting Science | [22 empty] | 4 |  |  | Historical context for fiber toxicity; first documentation of occupational fiber disease
63 | Seghers et al., 2025 | 2025 | Approaches for the preparation and evaluation of hydrophilic polyethylene and polyethylene terephthalate microplastic particles suited for toxicological effect studies | Toxicology | Reference Material | ★☆☆☆ Tier 4 Supporting Science | [16 empty] | 4 |  |  |  |  | 4 |  |  |  | PE + PET particle preparation protocol; in-house reference material production for tox
65 | Teeguarden et al., 2007 | 2007 | Particokinetics In Vitro: Dosimetry Considerations for In Vitro Nanoparticle Toxicity Assessments | Toxicology | Tox-Specific Method | ★☆☆☆ Tier 4 Supporting Science | [21 empty] | 4 |  |  |  | Foundational in vitro dosimetry paper; cellular delivered dose vs. nominal dose
67 | Thornton Hampton et al., 2022b | 2022 | Characterizing microplastic hazards: which concentration metrics and particle characteristics are most informative for understanding toxicity in aquatic organisms? | Toxicology | Workflow Component | ★☆☆☆ Tier 4 Supporting Science | 4 | [20 empty] | 4 | 4 |  |  | Identifies most informative MP metrics for tox; links characterization to hazard
95 | Qiu et al., 2025 | 2025 | Using artificial intelligence tools for data quality evaluation in the context of microplastic human health risk assessments | Toxicology | Database/Software | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 | [16 empty] | 3 | 3 | [5 empty] | AI-assisted automated data quality scoring for MP human health RA. Validates AI tools against expert scoring. DOI: 10.1016/j.envint.2025.109341
94 | Lane et al., 2025 | 2025 | Exposure scenarios for human health risk assessment of nano- and microplastic particles | Toxicology | Framework/Policy | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 3 | 3 | 4 | 3 |  |  |  | 3 | 3 | 3 | [14 empty] | 3 | Quantitative exposure scenarios for NMPs across multiple routes and matrices (oral, inhalation, dermal). Supports human health RA. DOI: 10.1186/s43591-025-00134-9 | 0.1–5000 µm (NMPs; multi-route exposure scenarios — oral, inhalation, dermal) | Estimated daily intake by route and matrix; population exposure distributions
5 | de Ruijter et al., 2020 | 2020 | Quality Criteria for Microplastic Effect Studies in the Context of Risk Assessment: A Critical Review | Toxicology | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 | [15 empty] | 3 |  |  |  | 3 | 3 |  | 4 | Key QA/QC checklist for tox studies; basis for ToMEx scoring system
31 | Gouin et al., 2022b | 2022 | Screening and prioritization of nano- and microplastic particle toxicity studies for evaluating human health risks | Toxicology | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 | [15 empty] | 3 |  |  |  | 3 | 3 |  | 3 | Tox study assessment/scoring tool; companion to ToMEx quality scoring
90 | Wright et al., 2024b | 2024 | Micro- and nanoplastics concepts for particle and fibre toxicologists | Toxicology | Review/Scoping | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 4 | 4 | [19 empty] | 3 | 3 |  |  | Concepts paper bridging MP/NP research and particle/fibre toxicology. Covers characterization needs, dosimetry, physicochemical properties relevant to toxicological assessment. Wright, Cassee, Erdely, Campen.
96 | Wardani et al., 2024 | 2024 | Nano- and microplastic PBK modeling in the context of human exposure and risk assessment | Toxicology | Framework/Policy | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP |  | 3 | [7 empty] | 3 | [11 empty] | 3 | 3 |  | 3 | Physiologically-based kinetic (PBK) modeling for NMP bioaccumulation, distribution, exposure assessment. Particle characterization needs. DOI: 10.1016/j.envint.2024.108504 | 0.1–10 µm (NMPs; nano-range bioaccumulation modeling focus) | Tissue concentration estimates; bioaccumulation factors; organ clearance rates (PBK model)
97 | Noventa et al., 2021 | 2021 | Paradigms to assess the human health risks of nano- and microplastics | Toxicology | Framework/Policy | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 4 | 4 | [19 empty] | 3 | 3 |  | 3 | Compares paradigms for NMP human health RA; discusses read-across, threshold approaches, particle vs chemical RA frameworks. DOI: 10.1186/s43591-021-00011-1
98 | Wright et al., 2025b | 2025 | A new screening framework to support the identification of exogenous particles and suspect microplastics in situ in pathological tissue samples | Toxicology | Workflow Component | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | [9 empty] | 3 | 3 |  |  | 3 | 3 |  | 3 |  | 3 | [6 empty] | Screening framework for identifying MPs/exogenous particles in pathological tissue samples in situ. Spectroscopic identification criteria. DOI: 10.1016/j.ebiom.2025.105984 | ≥5 µm (µFTIR/µRaman for in situ tissue identification; pathological sections) | In situ particle identification and polymer confirmation in human pathological tissue
105 | De Ruijter et al., 2025b | 2025 | A brief history of microplastics effect testing: Guidance and prospect | Toxicology | Peer-Reviewed Method | ★★☆☆ Tier 3 Peer-Reviewed Method/SOP | 4 | 4 | [14 empty] | 3 | 3 | 3 | 3 |  | 3 | 3 |  | 3 | Comprehensive ecotox review 2016-2024; ERMP protocol for environmentally relevant test material; same QA/QC failures persist 2016–2024; community-level RA → no freshwater benthic risk at env. concentrations. Environ. Pollut. v368, p125711. Zotero: HJRW7S45

## Quick Reference
Workflow Step | Priority Tier | Reference(s) | Focus | Notes for Researcher
── MONITORING WORKFLOW ──
STEP 1: Problem Formulation
Any study type | ★★★★ Tier 1 | Brander et al. 2020 (§ QA/QC); Coffin et al. 2022 (DW regulatory context); WHO 2019 | Monitoring | Define matrix, goal, and study design before choosing methods
Toxicology studies | ★★☆☆ Tier 3 | de Ruijter et al. 2020; Gouin et al. 2022b (tox assessment tool) | Toxicology | Determine if proof-of-concept, mechanistic, or risk assessment; this drives particle choice
STEP 2: Sampling
Drinking water ★ | ★★★★ Tier 1 | SWRCB/DDW 2025 (CA Tier 1 SOP) | Monitoring | Use CA regulatory SOP as primary; covers Raman and µFTIR collection
All other matrices (general guide) | ★★☆☆ Tier 3 | Brander et al. 2020 — Sampling and QA/QC guide | Monitoring | Best available for surface water, sediment, biota, air; NO Tier 1 SOP exists
Marine biota ingestion | ★★☆☆ Tier 3 | Provencher et al. 2019 | Monitoring | Matrix-specific best practice for avian tissue ingestion studies
Air/atmospheric deposition | ★☆☆☆ Tier 4 | Wright et al. 2021 (screening criteria) | Monitoring | No regulatory SOP; use this as best available guidance
STEP 3: Sample Processing / Extraction
Drinking water ★ | ★★★★ Tier 1 | SWB-MP1-rev1 (Wong & Coffin 2022) — CA Tier 1 SOP | Monitoring | Regulatory SOP for extraction + IR measurement; required for CA compliance
Drinking water — density separation QA | ★☆☆☆ Tier 4 | Ponti et al. 2025 (JRC representative test material) | Monitoring | Use to validate density separation step per SWB-MP1
Surface water / wastewater | ★★☆☆ Tier 3 | Thornton Hampton et al. 2023; Schymanski et al. 2021 | Monitoring | No regulatory SOP; matrix effects guidance + clean water best practices
Sediment | ★★☆☆ Tier 3 | Langknecht et al. 2023 (interlaboratory comparison) | Monitoring | No regulatory SOP; this interlab study is best available method basis
Marine biota tissue | ★★☆☆ Tier 3 | Tsangaris et al. 2021 (interlaboratory harmonization exercise) | Monitoring | No regulatory SOP; harmonization exercise provides best available basis
Lipid-rich matrices (food, biota) | ★☆☆☆ Tier 4 | Rauert et al. 2022 (Py-GC-MS for lipids) | Monitoring | No regulatory SOP; best available for lipid-rich food/biota matrices
Human blood / tissue | ★☆☆☆ Tier 4 | Rauert et al. 2025 (Py-GC-MS validation for blood) | Monitoring | No regulatory SOP; best available peer-reviewed method
STEP 4: Sub-sampling
All matrices | ★☆☆☆ Tier 4 | Cowger et al. 2024a — 'How many MPs do you need to sub-sample?' | Both | No regulatory standard; use this statistical framework to determine sub-sample size
STEP 5: Analytical Methods
Method selection overview | ★★☆☆ Tier 3 | Primpke et al. 2020 (EXPRESS critical assessment) | Both | Use to choose between FTIR, Raman, Py-GC-MS based on goals and resources
FTIR/Raman — Drinking water ★ | ★★★★ Tier 1 | SWRCB/DDW 2025 + SWB-MP1-rev1 (CA Tier 1 SOPs) | Monitoring | Regulatory SOPs cover both collection and spectroscopic analysis for CA compliance
FTIR/Raman — Other clean waters | ★★☆☆ Tier 3 | Schymanski et al. 2021 (minimum requirements + best practices) | Monitoring | No regulatory SOP; this defines minimum reporting requirements for clean water
Spectral identification (all matrices) | ★☆☆☆ Tier 4 | Open Specy 1.0 (Cowger et al. 2025); Open Specy community library (Cowger 2021) | Both | Primary open-source tool for automated spectral matching; use for all matrices
High-throughput FTIR | ★☆☆☆ Tier 4 | Cowger et al. 2024b (microplate reader FTIR) | Both | Use when processing large sample sets; enables database-scale analysis
Py-GC-MS — EU drinking water | ★★☆☆ Tier 3 | Dalmau-Soler et al. 2025 (implements EU Decision 2024/1441) | Monitoring | Best peer-reviewed implementation of EU Py-GC-MS regulatory method
Image analysis / classification | ★☆☆☆ Tier 4 | Cowger et al. 2020a (critical review of techniques) | Both | Use when selecting or justifying image analysis approaches
STEP 6: Reference Materials & Positive Controls
Commercial — fragments + fibers | ★☆☆☆ Tier 4 | EasyMP (Hagelskjær et al. 2025) | Both | Diverse, environmentally relevant; preferred over polystyrene spheres
In-house — water matrix | ★☆☆☆ Tier 4 | Seghers et al. 2021 (homogeneity evaluation protocol) | Both | Protocol for producing and validating in-house reference material for water
In-house — tox particles (PE/PET) | ★☆☆☆ Tier 4 | Seghers et al. 2025 (hydrophilic PE + PET preparation) | Toxicology | In-house production of hydrophilic particles suited for tox studies
In-house — fibers | ★☆☆☆ Tier 4 | Mossotti et al. 2021 (microfilament standard prep) | Both | Protocol for producing fiber-shaped reference standards
Nanoplastics | ★☆☆☆ Tier 4 | Pegoraro et al. 2025 | Both | Nanoplastic-specific reference materials with characterization metrics
AVOID | ★☆☆☆ Tier 4 | Gouin et al. 2024 — polystyrene spheres critique | Both | PS spheres are NOT environmentally relevant; avoid unless justified
STEP 7: Blanks & Contamination Control
All matrices — general QA | ★★☆☆ Tier 3 | Brander et al. 2020 (§ QA/QC); Munno et al. 2023; Noonan et al. 2023 | Both | Run procedural + field blanks for every study; these three together cover best practice
Blank data correction | ★☆☆☆ Tier 4 | Dawson et al. 2023; Lao 2025 (MDA-based correction) | Both | Use MDA + blank correction approach; Lao 2025 is most rigorous current method
Raman-specific blank/particle selection | ★☆☆☆ Tier 4 | Tsering et al. 2022 | Both | Raman-specific particle selection and blank correction; use with Open Specy workflow
Tox experiments — artifact control | ★☆☆☆ Tier 4 | Petersen et al. 2022b (artifacts in tox tests) | Toxicology | Identifies artifact sources specific to tox testing; required for valid tox results
STEP 8: Data Analysis & Statistics
General analytical precision | ★☆☆☆ Tier 4 | Wagner et al. 2022 (analytical precision assessment) | Both | Use to assess and report analytical precision in your workflow
MDA and spike recovery | ★☆☆☆ Tier 4 | Lao 2025 (postprocessing methods) | Both | Most rigorous current method for MDA-based data correction
STEP 9: Reporting
All studies | ★★☆☆ Tier 3 | Cowger et al. 2020b (reporting guidelines) | Both | Best available reporting standard; follow in absence of regulatory mandate
Human health studies | ★☆☆☆ Tier 4 | Thomas et al. 2026 (confidence communication) | Both | Layer over Cowger 2020b for human health-specific confidence reporting
Tox studies | ★★☆☆ Tier 3 | de Ruijter et al. 2020 (QA criteria checklist) | Toxicology | Use QA checklist as self-assessment before submission
STEP 10: Data Deposition
Monitoring data | ★☆☆☆ Tier 4 | One4All portal (Sherrod et al. 2024) | Monitoring | Recommended open-source portal for monitoring data sharing and validation
Toxicology data | ★☆☆☆ Tier 4 | ToMEx 2.0 (Thornton Hampton et al. 2025) | Toxicology | Deposit tox data here; includes quality scoring for risk assessment use
── TOXICOLOGY-ONLY STEPS ──
TOX STEP A: Particle Characterization
Size, shape, polymer, surface | ★★☆☆ Tier 3 | de Ruijter et al. 2020 (QA criteria); Thornton Hampton et al. 2022b (hazard metrics) | Toxicology | Characterize all particles before dosing; report size distribution, shape, polymer ID
Avoid PS spheres | ★☆☆☆ Tier 4 | Gouin et al. 2024; De Ruijter et al. 2025 | Toxicology | PS spheres are NOT environmentally relevant; use diverse polymer mixtures
TOX STEP B: Dosimetry
In vitro dosimetry | ★☆☆☆ Tier 4 | Cohen et al. 2014; Teeguarden et al. 2007 | Toxicology | Use delivered dose, not nominal; apply ISDD or DG models; no MP-specific standard exists
TOX STEP C: Effects Testing
General criteria | ★★☆☆ Tier 3 | de Ruijter et al. 2020 (QA criteria); Gouin et al. 2022b | Toxicology | Apply quality criteria checklist; use appropriate controls and dose range
Endocrine endpoints | ★☆☆☆ Tier 4 | Bouftas & van Duursen 2025 (H295R assay) | Toxicology | Enhanced H295R assay for steroidogenesis/endocrine disruption endpoints
Reproducibility assurance | ★☆☆☆ Tier 4 | Petersen et al. 2020 (cause-and-effect analysis) | Toxicology | Apply before finalizing tox protocol to identify reproducibility risks

## Gap Analysis
Workflow Step | Matrix | Coverage Status | Best Available Reference(s) | Gap / Implication
── MONITORING WORKFLOW ──
Sampling | Drinking Water | ✅ FULL COVERAGE | SWRCB/DDW 2025 (Tier 1 Regulatory SOP) | Fully covered by accredited CA State Water Board SOP
Sampling | All other matrices | ❌ GAP – No Auth. Method | Brander et al. 2020 (Tier 3 best practice) | No Tier 1/2 regulatory SOP for surface water, sediment, biota, air, food, or human tissue
Sample Processing / Extraction | Drinking Water | ✅ FULL COVERAGE | SWB-MP1-rev1 (Tier 1 Regulatory SOP) | Fully covered by CA State Water Board SOP; Ponti 2025 supports density separation validation
Sample Processing / Extraction | Surface Water / Wastewater | ❌ GAP – No Auth. Method | Thornton Hampton et al. 2023; Schymanski et al. 2021 (Tier 3) | No regulatory SOP; matrix effects on extraction methods not fully characterized
Sample Processing / Extraction | Sediment | ❌ GAP – No Auth. Method | Langknecht et al. 2023 (Tier 3 interlaboratory) | No regulatory SOP; interlab study is best available but limited to two methods
Sample Processing / Extraction | Marine Biota / Tissue | ❌ GAP – No Auth. Method | Tsangaris et al. 2021 (Tier 3 interlaboratory) | No regulatory SOP; harmonization exercise limited to marine taxa
Sample Processing / Extraction | Freshwater Biota | ❌ GAP – No Auth. Method | Tsangaris et al. 2021 (limited applicability); de Jourdan et al. 2024 | No regulatory SOP; methods not validated for freshwater biota matrices
Sample Processing / Extraction | Air / Atmospheric Deposition | ❌ GAP – No Auth. Method | Wright et al. 2021 (Tier 4 screening criteria) | No regulatory SOP; significant methodological diversity in the literature
Sample Processing / Extraction | Food / Dietary | ❌ GAP – No Auth. Method | Rauert et al. 2022 (Tier 4 — lipid-rich matrices) | No regulatory SOP; food matrix extraction methods are not harmonized
Sample Processing / Extraction | Human Blood / Tissue | ❌ GAP – No Auth. Method | Rauert et al. 2025 (Tier 4 — Py-GC-MS validation) | No regulatory SOP; biomonitoring methods in early development
Sub-sampling | All matrices | ❌ GAP – No Auth. Method | Cowger et al. 2024a (Tier 4 — statistical framework) | No regulatory standard; statistical guidance available but not yet formalized
Analytical Methods | Drinking Water (FTIR/Raman) ★ | ✅ FULL COVERAGE | SWRCB/DDW 2025 + SWB-MP1-rev1 (Tier 1) | Fully covered for CA compliance; Schymanski 2021 provides additional guidance
Analytical Methods | Drinking Water (Py-GC-MS, EU) | ⚠️ PARTIAL | EU Decision 2024/1441; Dalmau-Soler et al. 2025 (Tier 3 implementation) | EU regulatory method exists but no peer-reviewed accredited SOP published yet
Analytical Methods | Surface Water / Other clean water | ❌ GAP – No Auth. Method | Schymanski et al. 2021 (Tier 3); Open Specy 1.0 (Tier 4) | No regulatory SOP; Schymanski defines minimum requirements but not accredited
Analytical Methods | Sediment, Biota, Air, Food | ❌ GAP – No Auth. Method | Primpke et al. 2020 (Tier 3 overview); matrix-specific Tier 4 papers | No regulatory SOP for any of these matrices; significant variability across labs
Analytical Methods | Human Tissue / Biomonitoring | ❌ GAP – No Auth. Method | Rauert et al. 2025 (Tier 4) | No regulatory SOP; Py-GC-MS is leading method but not standardized
Reference Materials / Positive Controls | All matrices | ❌ GAP – No Auth. Method | EasyMP (Hagelskjær 2025); Seghers 2021, 2025; Mossotti 2021 (all Tier 4) | No accredited/certified reference standard exists for MPs; NIST/JRC developing standards
Blanks & Contamination Control | All matrices | ❌ GAP – No Auth. Method | Brander et al. 2020; Munno 2023; Noonan 2023; Dawson 2023; Lao 2025 (Tier 3–4) | No regulatory standard for blank design or correction; best practices available but not enforced
Data Analysis & Statistics | All matrices | ❌ GAP – No Auth. Method | Cowger et al. 2024a; Lao 2025; Wagner et al. 2022 (Tier 4) | No regulatory standard; statistical methods not harmonized across labs or matrices
Reporting | All studies | ❌ GAP – No Auth. Method | Cowger et al. 2020b (Tier 3); Thomas et al. 2026 (Tier 4) | No regulatory reporting standard; Cowger 2020b is widely used but voluntary
Data Deposition | Monitoring data | ❌ GAP – No Auth. Method | One4All portal, Sherrod et al. 2024 (Tier 4) | Voluntary deposition only; no regulatory data deposition requirement
Data Deposition | Toxicology data | ❌ GAP – No Auth. Method | ToMEx 2.0, Thornton Hampton et al. 2025 (Tier 4) | Voluntary deposition only; no regulatory requirement for tox data sharing
── TOXICOLOGY WORKFLOW ──
Particle Characterization | All tox studies | ❌ GAP – No Auth. Method | de Ruijter et al. 2020; Thornton Hampton et al. 2022b (Tier 3–4) | No MP-specific regulatory standard; OECD nano guidance partially applicable
Reference Particles | All tox studies | ❌ GAP – No Auth. Method | EasyMP; Seghers 2025; Mossotti 2021; Pegoraro 2025 (Tier 4) | No accredited MP reference standard for tox; ARPA-H, NIST, JRC developing standards
Dosimetry (in vitro) | All tox studies | ❌ GAP – No Auth. Method | Cohen et al. 2014; Teeguarden et al. 2007 (Tier 4 — from nano field) | No MP-specific dosimetry standard; nano field methods are the best available proxy
Effects Testing | All tox studies | ⚠️ PARTIAL | OECD TGs for specific endpoints (not MP-specific); de Ruijter et al. 2020 (Tier 3) | OECD TGs exist for specific endpoints (fish, algae, etc.) but none MP-specific; de Ruijter is best available
Reporting (tox) | All tox studies | ❌ GAP – No Auth. Method | de Ruijter et al. 2020 QA checklist; Cowger et al. 2020b (Tier 3) | No regulatory reporting standard; de Ruijter QA checklist is best available tox-specific guidance
COVERAGE SUMMARY
✅ Full Coverage (Tier 1 Regulatory SOP available) | Drinking water: sampling (SWRCB/DDW 2025) + extraction + FTIR/IR analysis (SWB-MP1-rev1). This is the ONLY matrix with a complete Tier 1 workflow.
⚠️ Partial Coverage (Tier 3+ only, or Tier 1 in development) | EU drinking water Py-GC-MS (EU Decision 2024/1441 exists; peer-reviewed implementation available). OECD TGs applicable to some tox endpoints.
❌ Gaps — No Tier 1 or 2 regulatory method | All other matrices for monitoring (surface water, sediment, biota, air, food, human tissue). All steps of the toxicology workflow. Reference materials. Data standards.
🔜 Standards in Development | NIST developing MP reference materials. ARPA-H call for tox reference standards. JRC developing EU-wide standards. ISO/ASTM committees in progress.